| Date inspected: By: | Treatment ID/Name: With: |
| --- | --- |
| What fluoride chemical is used? Sodium fluoride Sodium silicofluoride Hydrofluosilicic Acid Fluoride solution feed rate: Water flow rate: gpm Calculated solution feed rate: mg/l Measured fluoride concentration at EP: mg/l What fluoride concentration test kit/method is being used? For Liquid Fluoride Solution Pump model: Settings: Stroke Speed Vat size: Solution strength | Photos |
| *Is fluoride chemical NSF approved? Is fluoride test kit used an approved method? *Is fluoride within range: 1.0 mg/l < X < 4.0 mg/l *Is fluoride concentration checked daily (or each time fluoride is added) and recorded? Is amount of fluoride used compared to water pumped to verify concentration? For automatic feed systems, are chemical pump shut-offs controlled by flow switches present to prevent overfeeding fluoride? Is unintentional siphonage of the solution controlled? Is chemical storage adequate and safe? Is fluoridation chemical injection equipment being operated and maintained properly? Is operational standby equipment provided? If not, are critical spare parts on hand? Has flouridation system been free from failure during the past year – no interruptions? Are cross connections eliminated? | Y N Unk N/A □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ □ |  |
| Notes: |  |