| PWS: | Date: |
| --- | --- |
| Surveyors: |
| System personnel present: |

| Done | Task | Notes |
| --- | --- | --- |
|  | Review Inventory Collection Form with PWS Get GPS coordinates for entrance to facility Confirm Admin contact information Confirm Operator contact information Who is designated operator in responsible charge? Is this operator certified? Review schematic(s) of system Are all facilities represented on overall schematic? Are sampling sites indicated? Is there a schematic of the treatment system? |  |
|  | Review Coliform Sampling Plan Does system have a sampling plan? Has the system been taking monthly TCR samples? Does the system have the results on file? Check sample sites – Are the sites representative of the distribution? |  |
|  | Review other monitoring activities Inorganics, VOCs, Pb & Cu, Asbestos, DBP |  |
|  | Inspect facilities, take photos Source: Use well checklist If source is a well, is operating permit up-to-date? Get GPS coordinates for well Treatment: use hypochlorination checklist All groundwater and rainwater must be disinfected (§1600.2) Finished water storage: Use storage checklist Pump facilities and controls: Use pump checklist Distribution system: Inspect sample sites Observe operator do chlorine residual test |  |
|  | Review findings with operator and admin contact |  |
| Back at DEQ Office |
|  | Download camera, GPS; file on server |  |
|  | Draft report and cover letter |  |
|  | Update SDWIS with inventory information |  |